# PART 1 - GENERAL

1.01 	RELATED DOCUMENTS

1.   	Drawings and general provisions of Contract, including General Conditions and other Division 1 Specification sections, apply to work of this section.

1.02 	DESCRIPTION OF REQUIREMENTS

1.   	Definitions:  "Products" is defined to include purchased items for incorporation into the work, regardless of whether specifically purchased for project or taken from Contractor's stock of previously purchased products.  "Materials" is defined as products which must be substantially cut, shaped, worked, mixed, finished, refined or otherwise fabricated, 	processed, installed or applied to form units of work.  "Equipment" is defined as products with operational parts, regardless of whether motorized or manually operated, and particularly including products with service connections (wiring, piping, etc.).  Definitions in this paragraph are not intended to negate the meaning of other terms used in contract documents, including "specialties," "systems," "structure," "finishes," "accessories," "furnishings," "special construction," and similar terms, which are self-	explanatory and have recognized meanings in the construction industry.

1.03 	QUALITY ASSURANCE

1.   	To the greatest extent possible for each unit of work, provide products, materials or equipment of a singular generic kind and from a single source.

2.   	Where more than one choice is available as options for Contractor's selection of a product or material, select an option which is compatible with other products and materials already selected (which may have been from among options for those other products and materials).  Total compatibility among options in not assured by limitations within contract documents, but must be provided by the Contractor.  Compatibility is a basic general requirement of product/material selections.

1.04 	PRODUCT DELIVERY-STORAGE-HANDLING

1.   	Deliver materials, equipment, products, devices, etc. (herein after termed “materials”) to project in undamaged condition, in original containers, packages, etc. with brand name, product I.D. etc. visible. Package all materials as required to protect from damage, during shipment or storage, handling, etc.  Control delivery to minimize long term “on site” storage.

2.	Store and handle all materials to prevent their becoming stolen, unsuitable, deteriorated or damaged due to moisture, temperature changes, contaminants, impacts, breakage, corrosion or other causes.

3.	Store materials off the ground, under cover and in dry location.  Do not multiple stack materials unless packaged/protected for multiple tiers.

4.	Contractor is responsible to replace all missing, damaged, unsuitable or damaged materials.

5.	Do not overload portions of existing structure with concentrated stored materials.

6.	Store all flammable and combustible materials in a locked fire rated enclosure.  Paint shall be stored in a paint locker.

7.	All construction materials shall be stored in a safe and secure manner by the applicable contractor.

# PART 2 - PRODUCTS

2.02 	GENERAL PRODUCT COMPLIANCES

1.   	The compliance requirements, for individual products as indicated in contract documents, are multiple in nature and may include generic, descriptive, proprietary, performance prescriptive, compliance with standards, compliance with codes, conformance with graphic details and other similar forms and methods of indicating requirements, all of which must be complied with.  Also "allowances" and similar provisions of contract documents will have a bearing on selection process.

2.   	Contractor's options for selecting products are limited by contract document requirements, and governing regulations, and are not controlled by industry traditions or 	procedures experienced by Contractor on previous construction projects.  Required procedures include, but are not necessarily limited to, the following for various indicated methods of specifying:

- Single Product/Manufacturer Name:  Provide product indicated, except advise Architect/Engineer before proceeding, where known that named product is not a feasible or acceptable selection.

2.  	Two or More Product/Manufacturer Names:  Provide one of the named products, at Contractor's option; but excluding products which do not comply with requirements.  Do not provide or offer to provide an unnamed product, except where none of named products comply with requirements or are a feasible selection;  advise Architect/Engineer before proceeding.

2.02 	GENERAL PRODUCT REQUIREMENTS

1.   	Provide products which comply with requirements, and which are undamaged and unused at time of installation, and which are complete with accessories, trim, finish, safety guards and other devices and details needed for a complete installation and for intended use and effect.

1.	Where available, provide standard products of types which have been produced; and used previously and successfully on other projects and in similar applications.

2. 	Where additional amounts of a product, by nature of its application, are likely to be needed by District at a later date for maintenance and repair or replacement work, provide a standard, domestically produced product which is likely to be available to District at such later date.

2.   	Except as otherwise indicated for required approval labels, and operating data, do no permanently attach or imprint manufacturer's or producer's nameplates or trademarks on exposed surfaces of products which will be exposed to view either in occupied spaces or on exterior of the work.

1.	Locate required labels and stamps on a concealed surface or, where required for observation after installation, on an accessible surface which, in occupied spaces, is not conspicuous.

3.   	Provide permanent nameplate on each item of service-connected or power operated equipment.  Indicate manufacturer, product name, model number, serial number, capacity, speed, ratings and similar essential operating data.  Locate nameplates on an easily accessed surface which, in occupied spaces, is not conspicuous.

.4	No ACBM To Be Used;  No new replacement materials utilized for this project shall contain asbestos or other regulated hazardous materials. Contractor shall verify this with all materials used, and certify to that effect, in a “NO ACBM STATEMENT” as specified in Section 01 33 00.

# END OF SECTION